## Slide 1: Wellfield Health and Water Production Summary
September 22, 2025

## Slide 2
Below 80% sequenced normally
88% Impaired
90% and higher taken out of sequence to protect well
Chart: Wellfield Impairment by Well
| Well 1 | Well 3 | Well 6 | Well 15 | Well 20 | Well 21 | Well 22 | Well 14 | Well 16 | Well 17 | Well 23
8/31 - 9/6 | 0.87 | 0.89 | 0.74 | 0.86 | 0.87 | 0.91 | 0.84 | 0.72 | 0.73 | 0.79 | 0.49
9/7 - 9/13 | 0.86 | 0.88 | 0.73 | 0.85 | 0.79 | 0.9 | 0.83 | 0.67 | 0.71 | 0.74 | 0.49

## Slide 3: Summary of Wellfield Condition
Sand Springs wells have improved slightly due to reduced usage and rainfall of more than 3 inches.
River Alluvium wells have a good water level; however, the chemistry makes their use limited.
Action items:
- Further reduction in customer usage
- Continue monitoring drawdowns
- Identify and secure additional water source
Action Items

## Slide 4
Water Diverted, Produced, and Lost in Production
Aug 31 – Sep 6, 2025
Diverted: 8,634,000
Produced: 7,177,790
Lost During Production: 1,456,210
Percentage Loss: 17%
Sep 7 – Sep 13, 2025
Diverted: 8,874,000
Produced: 7,410,860
Lost During Production: 1,463,140
Percentage Loss: 16%